## Sheet1
2026-11-02
QUESTIONS AND ANSWERS
VCCB Laboratory Information System
# | Reference | Question | Answer
1 |  | What is the client's preferred deployment strategy (Big Bang, phased deployment by location or department, etc.)? | Big Bang is desired; however, a phased roll-out may be considered as long as it doesn't keep the lab from opening. A phased in instrument intergration is acceptable.
2 |  | How many laboratory facilities are covered by this RFP? If more than one, how many of those locations perform lab work? | one
3 |  | If there are multiple Labs, will the database be shared or is a separate instance for each lab required? | N/A
4 |  | What is the annual volume of samples processed? | Unknown
5 |  | How many total staff are at the lab? | 3
6 |  | How many users does the State anticipate using the LIMS? Of those, how many users will be accessing the LIMS at the same time (concurrent users)? | 3-5, no more than 2-3 at a time
7 |  | Would a two-to-four-week extension to the submission deadline be possible? | No, the submission deadline will remain as stated in Addendum #1
8 |  | What instruments will the LIMS need to interface with (make and model)? | Shimadzu and ThermoFisher
9 |  | Is data migration in scope for this project? | No
10 |  | What is the existing LIMS database size? | N/A
11 |  | Is there a desired go-live date? | End of 2026
12 |  | Please describe your reporting and data-delivery requirements, including operational reports, analytical reports, regulatory or compliance reports, certificates/results reports, and Electronic Data Deliverables (EDDs), as applicable. Please provide representative examples of current report formats, templates, EDD specifications, or required output files, and identify any reports or deliverables that must conform to a prescribed client, regulatory agency, or third-party format. | Requirments included in RFP
13 |  | Do you have any third-party tools that will need to be connected to the Database? ie analytics tools | No, this is not a requirement.
14 |  | In the Bidder Response Form, Part 10 - Section B it states that the Bidder understands and agrees to all terms in the RFP and attachments. If a Bidder is planning on also submitting contract exception under Part 9, is it understood by the government that we are inherently NOT agreeing with Part 10 Section B? Should we mark through that Section B clause when submitting? | Yes, that is correct. Please note Attachment C and D reflect standard State contract requirements any requested modifications will need to be supported by a clear business or technical justification and will remain subject to State approval.
15 |  | Please provide the manufacturer, model, control/data-system software, version, and available interface method for each HPLC, GC/MS, LC/MS/MS, and qPCR instrument expected at initial go-live, and clarify whether the contractor is responsible for purchasing any third-party interface licenses or validating each connector. | Shimadzu and ThermoFisher
16 |  | Please provide the anticipated number of named and concurrent users by role, annual and peak sample volumes, expected test runs per day, and projected image/document storage. Please also confirm the operational basis for the requirement to support at least 400 concurrent internal users. | Two to three concurrent users internal staff of CCB
17 |  | For the cannabis LIMS experience and reference requirements, may a prime contractor rely on the demonstrated experience and references of a named subcontractor or technology partner? Please also clarify whether Section 5.8’s last-12-month standard or Exhibit C’s past-48-month implementation standard controls, and whether all three references must involve cannabis testing LIMS implementations. | Q1. Yes. The State requires prior written approval. The Prime Contractor remains responsible and liable to the State for all acts and omissions of its subcontractors and any other individuals or entities performing work under the Agreement. Please refer to Attachment C, Section 14, Nondiscrimination, Item 19. Q2. Cannabis specific references are not required.
18 |  | Please confirm which security requirements must be evidenced at proposal submission versus achieved before production go-live, whether FedRAMP or FTI requirements are expected to apply, and whether SaaS-wide penetration tests, social-engineering assessments, and independent control assessments may satisfy the annual testing requirements. | Q1. No security evidence is needed at propsal submission. The expectation would be to receive and review security testing/documentation prior to go live. Q2. Fed RAMP moderate is expected. FTI requirements are out of scope. Q3. Yes.
19 |  | Given the laboratory’s anticipated November 2026 opening and the December 12, 2026 anticipated contract start, what is the required production go-live date, and will the State accept a phased rollout in which core sample management and manual result entry precede completion of all instrument integrations? | Desired go live is by the end of 2026. A phased roll-out may be considered as long as it doesn't keep the lab from opening. A phased in instrument intergration is acceptable.
20 |  | How many laboratory locations or physical sites will use the LIMS at launch? | One
21 |  | What sample volume and number of internal/external users should bidders use for sizing and pricing? | Unknown sample sizes, bidders should provide up front quotes for tiered level pricing
22 |  | What is the CCB quality-control laboratory’s current operating/licensing status, and are all licenses needed for operation expected to be in place by launch? | N/A
23 |  | Will the State consider prepaid pricing for the initial three-year term if it produces a discount, or should bidders assume annual invoicing? | Bidders shall assume annual invoicing.
24 |  | The package available to us includes the RFP and Exhibit C, while the RFP also references Exhibit A (Business Rules) and Exhibit B (Laboratory Assay List). Could you please provide Exhibits A and B or direct us to where they are posted? | Exhibits A and B are included in the RFP. Exhibit A begins on Pg. 11 and Exhibit B begins on PG. 14
25 |  | We want to check if this opportunity is region specific or if it is open all around the world. The reason we ask is we are based out of India and wanted to get confirmation if we are eligible to bid from India for this opportunity. | Bidders located outside the United States are welcome to submit a proposal. However, all State data must be hosted on servers located within the United States, unless an exception or waiver is granted by the Agency of Digital Services permitting the data to be hosted elsewhere.